## Slide 1
C PER
Center for Advanced Power Engineering Research
Presented By:
Morey Agnew
Clemson University

## Slide 2: Datasets Used
List of Substations
  This excel file has all the substations in the area but we only used Distribution type substations
Interconnection Request
  This excel file has all of the interconnection request but we are only interested in Distribution and Solar type requests that are in the Carolinas.
To make the GIS maps we used a function inside the Sandia National Lab.

## Slide 3: Distribution Substation Locations

## Slide 4: PV Interconnection Requests Locations

## Slide 5: Charlotte Area

## Slide 6: PV Interconnection Requests Locations

## Slide 7: Area with Smaller Population

## Slide 8: Distance Formula
Haversine Formula – Calculates the shortest distance over the earth’s surface. We need this to be able to find the distance between each PV interconnection request and the substation to find out which substation it’s closest too. Then we matched each request to the substation it is closest to.
When R equals the radius of the Earth, which is 3961miles

## Slide 9: Vicinity Approach
Substation | Feeder Number | Residential (Conn) | Commercial (Conn) | Utility (Conn) | Residential (Pend) | Commercial (Pend) | Utility (Pend)
1 | 1 | 75.01 KW | 0 | 0 | 0 | 0 | 0
2 | 2 | 35.45 KW | 0 | 0 | 18.35 KW | 0 | 0
3 | 3 | 16.4 KW | 0 | 0 | 0 | 0 | 5000 KW
4 | 7 | 5.36 KW | 0 | 10000 KW | 0 | 0 | 5000 KW
Where as Substation 2, 3, and 4 all feature some pending request and 3 and 4 both would have Utilities.
Substation 1 appears to only feature Residential connections with no other request
Substation | Feeder Number | Residential (Conn) | Commercial (Conn) | Utility (Conn) | Residential (Pend) | Commercial (Pend) | Utility (Pend)
1 | 1 | 75.01 KW | 0 | 0 | 0 | 0 | 0
2 | 2 | 35.45 KW | 0 | 0 | 18.35 KW | 0 | 0
3 | 3 | 16.4 KW | 0 | 0 | 0 | 0 | 5000 KW
4 | 7 | 5.36 KW | 0 | 10000 KW | 0 | 0 | 5000 KW

## Slide 10: Substation 1
In this table we took Substation 1 with a 20 mile radius to show all PV interconnection requests.
All of the requests that are closest to a substation within a 20 mile radius of Substation 1 are summed together
Substation 1 (Feeder 01) |  | 
Type | Connected | Pending
Residential | .272 MW | .107 MW
Commercial | .135 MW | .359 MW
Utility | 21.45 MW | 21.89 MW
Total | 21.87 MW | 22.35 MW

## Slide 11: Vicinity of Substation 1

## Slide 12: Total PV of West
Total in West |  | 
Type | Connected | Pending
Residential | 9.15 MW | 1.17 MW
Commercial | 5.44 MW | 2.28 MW
Utility | 140.1 MW | 288.8 MW
Total | 154.7 MW | 292.3 MW
In this table the total amount Power each type of request has in the Carolinas

## Slide 13: Substation 1 Feeder 01
This percentage column in this table has a weight of 20% for connected and 80% pending since we are more interested in future connections.
Type | Percentage
Residential | 5.0541%
Commercial | 10.7771%
Utility | 8.4158%
Observe that commercial sized facilities are most probable being connected in the Substation 1 area.
This information can be used by Distribution Planners when projecting future DER-PV facility connections

## Slide 14: Remarks/Future Research
  We will find a better way of estimating the weighted total of the percentages for better projected values of future DER-PV penetration scenarios.
  This better estimation of weighted total will be based off of many factors including; population of the area, available land, and the ratio of connected vs pending interconnection request.