## Slide 1
C PER
Center for Advanced Power Engineering Research
Presented By:
Libby Zanin
Clemson University

## Slide 2: Project Goals
To create a probability table for future PV grid penetrations in a specific distribution service area
Using data from a salesforce pull from June 2015
Needed to know the PV locations to determine the connection location

## Slide 3: Introduction to GIS
Geographic Information Systems (GIS)
  Mapping technology
  Integrates databases with georeferenced spatial data
  Geocoding to match addresses with Latitude and Longitude locations
Clemson University Center for Geospatial Technologies
  Training on working with Tabular Data

## Slide 4: Geocoding Point Matching Results
Situation | Number of Locations | Installed Capacity (MW)
Matched by GIS | 2252 | 452.67
Unmatched by GIS | 178 | 182.76
Hand matched | 93 | 36.65
Unknown locations | 85 | 146.11
Notes: Only showing solar, connected, distribution, carolinas and PEC

## Slide 5: Geocoding Point Matching Results- DEC
Situation | Number of Locations | Installed Capacity (MW)
Matched by GIS | 1607 | 134.37
Unmatched by GIS | 91 | 21.05
Hand Matched | 14 | 20.33
Unknown locations | 77 | 0.72
Notes: Only showing solar, connected, distribution, ONLY carolinas

## Slide 7
Notes: Should I include the back ground map for this presentation?

## Slide 8: Classification System
Residential: Installed Capacity below 100kW
Commercial: Between 100kW and 500kW Installed Capacity
Utility Scale: Above 500kW Installed Capacity

## Slide 9
    Residential

## Slide 10
    Commercial

## Slide 11
    Utility Scale

## Slide 12: Total Capacity in Classes
Class | Connected Capacity (kW) | Pending Capacity (kW) | Weighted Total
Residential DEC | 9911.04 | 1474.19 | 8223.6714
Commercial DEC | 5629.72 | 2181 | 4939.976
Utility Scale DEC | 196947.8 | 688567 | 295271.752
Residential DEP | 5430.28 | 1308.36 | 4605.9
Commercial DEP | 9072.76 | 2709.98 | 8440.2
Utility Scale DEP | 465600.9 | 1841.25 | 740731.6

## Slide 13: MOREY’S SLIDES?

## Slide 14
Bellhaven 20 mile radius only
Connected Pending
R 271.908 106.86
C 135 358.6
U 21450 21890

## Slide 15: Future Research
Using a weighted total of pending and connected installed capacity to determine the probability of future instillations
  Considering many factors including location, time, price of electricity, and tax incentives